## Sheet1
Qty | Part | Value | Package | Unit Cost | Total Cost
Microcontroller Board
1 | PCB |  |  | 2 | 2
1 | Teensy 3.2 |  |  | 15 | 15
2 | Pin Socket | 1x7 |  | 3 | 6
1 | 2x13 IDC Connector |  |  | 3 | 3
2 | LED |  | 5mm | 0.2 | 0.4
2 | Resistor | 120 | Axial | 0.1 | 0.2
Power Supply
1 | PCB |  |  | 2 | 2
1 | Barrel Jack |  | 2.1mm | 0.4 | 0.4
1 | Linear Regulator | 7815 | TO220 | 2.5 | 2.5
1 | Linear Regulator | 7915 | TO220 | 2.5 | 2.5
1 | Linear Regulator | LM1117-3.3 | TO220 | 2.5 | 2.5
1 | Switching Regulator | R-78E5.0-0.5 | WE78 | 2.5 | 2.5
6 | Rectifier Diode | 1N4004 | Axial | 0.2 | 1.2
4 | Electrolytic Capacitor | 3300u | Radial 18mm | 2 | 8
2 | Electrolytic Capacitor | 10u | Radial 6mm | 0.2 | 0.4
8 | Ceramic Capacitor | 1u | Radial 2.5mm | 0.6 | 4.8
2 | Resistor | 2.4k | Axial | 0.2 | 0.4
1 | Pin Header | 1x5 |  | 0.2 | 0.2
1 | AC-AC Adapter | 15VAC |  | 15 | 15
1 | Enclosure |  |  | 10 | 10
Transimpedance Amplifier
1 | PCB |  |  | 2 | 2
2 | Tantalum Capacitor | 4.7u | 2512 | 2.5 | 5
2 | Ceramic Capacitor | 100n | 0805 | 0.1 | 0.2
1 | Op Amp | OPA124 | SOIC8 | 15 | 15
1 | Teflon Standoff | Keystone 11301 |  | 2 | 2
1 | Resistor | 100M | Axial | 5 | 5
1 | Resistor | 220 | 0805 | 0.1 | 0.1
Analog Board
1 | PCB |  |  | 7 | 7
1 | Tantalum Capacitor | 100u | 7343 | 2.5 | 2.5
9 | Tantalum Capacitor | 10u | 3528 | 0.5 | 4.5
6 | Tantalum Capacitor | 10u | 0805 | 0.5 | 3
33 | Ceramic Capacitor | 100n | 0805 | 0.1 | 3.3
10 | Ceramic Capacitor | 4.7n | 0805 | 0.2 | 2
1 | Ceramic Capacitor | 2.2u | 1206 | 0.3 | 0.3
8 | Ceramic Capacitor | 3.3n | 0805 | 0.1 | 0.8
1 | Ceramic Capacitor | 47u | 1210 | 1 | 1
1 | LED |  | 0805 | 0.2 | 0.2
2 | DB9 Board Connector | Female | Through-hole | 3 | 6
2 | DB9 Cable Connector | Male |  | 1.5 | 3
4 | Ferrite Bead | 600 ohm | 0805 | 0.3 | 1.2
1 | 2x13 IDC Connector |  |  | 3 | 3
1 | 2x13 IDC Cable |  |  | 5 | 5
1 | Pin Header | 1x5 |  | 0.2 | 0.2
23 | Resistor | 3k | 0805 | 0.1 | 2.3
1 | Resistor | 1k | 0805 | 0.1 | 0.1
4 | Resistor | 220 | 0805 | 0.1 | 0.4
4 | Resistor | 1.5k | 0805 | 0.1 | 0.4
2 | Resistor | 10k | 0805 | 0.1 | 0.2
1 | Resistor | 30k | 0805 | 0.1 | 0.1
4 | Resistor | 470 | 0805 | 0.1 | 0.4
1 | Resistor | 100 | 0805 | 0.1 | 0.1
3 | Op Amp | OPA2227U | SOIC8 | 10 | 30
1 | Voltage Reference | REF102AU | SOIC8 | 6 | 6
2 | Op Amp | OPA4227 | SOIC14 | 12 | 24
1 | DAC | DAC8814 | SSOP28 | 40 | 40
1 | ADC | LTC2326 | MSOP16 | 33 | 33
1 | Op Amp | LT1469 | SOIC8 | 15 | 15
1 | Enclosure |  |  | 15 | 15
Scan Head
1 | Piezo | 6.3Khz | 20mm | 0.7 | 0.7
1 | Sapphire Crystal | 16mm |  | 7 | 7
1 | Tungsten Wire Roll | 30 AWG |  | 10 | 10
1 | Aluminum Standoff |  | 3mm x 10mm | 0.5 | 0.5
3 | Fine Adjustment Screws | 1/4-80 |  | 9 | 27
3 | Bushings | 1/4-80 |  | 9 | 27
2 | Aluminum Block |  | 0.5" x 2" x 2" | 2 | 4
4 | Screw |  | 0.5" long | 0.1 | 0.4
2 | Spring |  | 1" long | 0.5 | 1
1 | Copper Tape |  |  | 10 | 10
1 | Pin Header | 1x5 |  | 0.2 | 0.2
1 | Enameled Wire | 40 AWG |  | 10 | 10
2 | Neodymium magnet |  | 10mm | 0.5 | 1
Anti-Vibration Base
3 | Extension Springs |  | 2 ft long | 5 | 15
1 | MDF Board |  | 2 ft x 2 ft | 10 | 10
3 | Round Steel Plate |  | 0.5" x 5" | 7 | 21
1 | Round Aluminum Plate |  | 0.5" x 6" | 20 | 20
3 | Viton FKM O-Rings |  |  | 2 | 6
12 | Hard Drive Magnets |  |  | 0.5 | 6
3 | Eye Bolts | 3/8" | 5" long | 2 | 6
3 | Eye Bolts | 3/8" | 1" long | 2 | 6
3 | Threaded Rod | 3/8" | 3 ft long | 4 | 12
3 | Rubber Feet Stickers |  | 5mm | 0.5 | 1.5
21 | Nuts | 3/8" |  | 0.1 | 2.1
|  |  |  | Total | 522.7